## Sheet1
Parameter | Default | Update | Description
MZRange | 100-10000 | Everytime | A range of MZ values to filter the data by. It is highly recommended that users visualize the spectra first to determine a reasonable cutoff range.
NoiseFilter | 1 | Everytime | An abundance (every peak is scaled to the largest peak) cutoff for peaks. A reasonable value should be in the 2.5 - 5.0% range. Default is 5%.
Charges | 1,2 | Everytime | The range of charges to test. List charges separated by a comma
MinAbsoluteChange | 0.5 | Occassionally | An abundance (every peak is scaled to the largest peak) absolute change required to count a subsequent peak as an isotope. Default is 0.5.
CorrelationMinimum | 0.7 | Occasionally | The minimum correlation value to consider when generating the trelliscope display
IsotopicPercentage | 1 | Occassionally | The minimum isotopic percentage (calculated intensity) permitted to be matched. Default is 1, which means 1%.
PPMThreshold | 10 | Occassionally | The maximum m/z error permitted.
IsotopeRange | 5,20 | Rarely | The minimum and maximum number of isotopes to consider
PlottingWindow | 5 | Rarely | The -/+ m/z value on either side of the matched spectra plot. Default is 2 m/z.
ProtonMass | 1.0073 | Rarely | The AMU mass of a proton. Shouldn't need to change.